## Slide 1: Impact of High Field & High Confinement on L-mode-Edge Negative Triangularity Tokamak (NTT) Reactor
M. Kikuchi, T. Takizuka, S. Medvedev, T. Ando, D. Chen, J.X. Li, M. Austin, O. Sauter, L. Villard, A. Merle, Y. Kishimoto, K. Imadera
IAEA-CN/258/FIP/3-4 , 27th IAEA Fusion Energy Conference, Ahmedabad, India

## Slide 2
0.1
1.0
10
100
1000
10-3s
1 year
Fossil
Fission
Fusion Divertor
(with Radiative cooling)
Fusion 1st wall
Heat Flux (MW/m2)
~1MW/m2
~0.3MW/m2
10MW/m2 : short time fusion / 0.3-1MW/m2 : Reliable power system
1. Motivation: Fusion Power Handling is quite challenging!
Duration
w/o Radiative cooling
Radiation heat flux on the Sun
IAEA-CN/258/FIP/3-4 , 27th IAEA Fusion Energy Conference, Ahmedabad, India
Disruption
Runaway electron
ELM

## Slide 3: 2. Fusion Target to Months of operation
7 order difference
There is 7 order of gap between present-day high performance plasma to DEMO in the power load duration.
Most critical is long pulse power handling
IAEA-CN/258/FIP/3-4 , 27th IAEA Fusion Energy Conference, Ahmedabad, India

## Slide 4
3. L-mode Edge Negative Triangularity Tokamak (NTT)
Rdiv=5m
a) D-shaped+ H-mode
R
Ip, Bt
Grad B drift
SOL flow
Geometrical Factor ~2.8 @ Grazing angle ~1o
H-mode edge << L-mode edge (suitable for reactor)
Rdiv=14.5m
b) Negative d+ L-mode Edge
R
IAEA-CN/258/FIP/3-4 , 27th IAEA Fusion Energy Conference, Ahmedabad, India
GpH ~NC level
Difficult to pump
GpL >>NC level
Easier to pump
r/a
1.0
0.0
ne
H-mode profile
L-mode profile
1.0
0.0
Gp
Better stability for TEM

## Slide 5
TCV (ap=25cm,Bt=1.44T)
DIII-D (ap=59cm,Bt=2T)
IAEA-CN/258/FIP/3-4 , 27th IAEA Fusion Energy Conference, Ahmedabad, India
4. There are increasing Evidence of L-mode Edge High Confinement
CamenenNF 2007
Kadomtsev NF1971
Precession drift reversal
for TEM stability
tEe (NTT)~ 2 times
(L-mode Edge)
Y. Camenen, NF2007
Riva PPCF2017：
Larger magnetic pitch stabilize resistive ballooning
SauterPoP2014: De-stiffening
MelroPPCF2015: Higher Tcrit
Fontana2018: smaller turbulence
CodaFEC2018: smaller lq??
d=-0.3
d=+0.3
More stable
More unstable
M. Austin, EX/P6-6
High confinement inNegative triangularity discharges in DIII-D
ne(0)=6x1019m-3
Te(0)=4keV
Pheat=10.5MW
H
L
Higher Bp

## Slide 6
0 0.5 1.0
y0.5
p’
1.0
0.5
0.0
w/o pedestal
Mercier limiting region
Mercier limiting edge
Ballooning limiting region
b) Optimized pressure gradient profile in KINX
a) Optimized pressure profile
0.5 1.0 1.5
R/Rp
0.04
0.02
0
p
IAEA-CN/258/FIP/3-4 , 27th IAEA Fusion Energy Conference, Ahmedabad, India
5. Optimized Pressure Profile in NTT
NTT is magnetic Hill configuration.
- Central Region limited by Mercier stability.
- Outer half limited by Ballooning stability.
bN (stability limit) ~3.3
Within this limit, reactor design is possible bN=2.3.

## Slide 7
IAEA-CN/258/FIP/3-4 , 27th IAEA Fusion Energy Conference, Ahmedabad, India
6. Reducing risk for large ELM energy loss
Large pedestal pressure is the source of risk of huge ELM energy loss
NTT tends to stay at L-mode edge but still has risk to be H-mode and ELM.
NTT edge pedestal pressure limit is at least 4 times smaller than D-shaped.
Thus reducing risk of large ELM energy loss.

## Slide 8
IAEA FEC 2016 S. Medvedev, M. Kikuchi, et al. Rp=9m, Ip=21MA, 3GW fusion power at bN=2.1, Bmax=13.6T, HH=1.12
IAEA-CN/258/FIP/3-4 , 27th IAEA Fusion Energy Conference, Ahmedabad, India
7. Double and Single Null NTT in FEC 2014 and 2016
kx=2
OK
IAEA FEC 2014 S. Medvedev, M. Kikuchi, et al. Rp=7m, a=2.7m (A=2.6), Ip=15MA, Bt=6.2T, kx=1.5,dx=-0.9, bN lim>3, gn=0=95/s

## Slide 9
IAEA-CN/258/FIP/3-4 , 27th IAEA Fusion Energy Conference, Ahmedabad, India
8. Parameter scan of SN-NTT Configuration for compact reactor
A=3, HHIpA= 69.3MA : Given
- Solid line : HH=1.2 fixed,
- Broken line : HH varied (1.1-1.5) with Rp

## Slide 10
a)
b)
IAEA-CN/258/FIP/3-4 , 27th IAEA Fusion Energy Conference, Ahmedabad, India
9. Reactor Configurations in NTT with Race-track shaped TF coils
IAEA FEC 2016 S. Medvedev, M. Kikuchi, et al. Rp=9m, Ip=21MA, 3GW fusion power at bN=2.1, Bmax=13.6T, HH=1.12
Significant size reduction is possible by enhanced confinement HH=1.5.
Rp=7m, Ip=15.4MA, 2GW fusion power at bN=2.7, Bmax=13.5T

## Slide 11
IAEA-CN/258/FIP/3-4 , 27th IAEA Fusion Energy Conference, Ahmedabad, India
10. Flux Tube Expansion Divertor in NTT
FTE coil current to expand flux tube to satisfy a=1-1.5o is only 2.5MA
Active control of flux expansion for both legs are possible.
Coils can be sector coils by NbTi wires
L-mode edge ay enable power handling more easier than H-mode edge.
GFTE=4.2
GFTE=2.0
GFTE=4.2
GFTE=2.0
IFTE=2.5MA
IFTE=2.5MA
15MA equilibrium a) without FTE, b) with FTE, c)Expanded magnetic structure with FTE
a=2.6 o
a=2.1 o

## Slide 12
IAEA-CN/258/FIP/3-4 , 27th IAEA Fusion Energy Conference, Ahmedabad, India
11. Magnet Designs in NTT
Magnet design of NTT is technically feasible (Jc=1000A/mm2)

## Slide 13
IAEA-CN/258/FIP/3-4 , 27th IAEA Fusion Energy Conference, Ahmedabad, India
12. Summary
D-shaped H-mode is the standard operation mode in tokamak.
It brings many critical issues (ELM, narrow heat channel, small particle flux, heat and particle exhaust at small R)
Efforts has been made to resolve these issues but still challenging.
Divertor for Negative triangularity provides maximum wetted surface with flux tube expansion.
L-mode edge observed in NTT experiments enhances its merit much further.
Low edge pedestal beta limit is safer for ELM damage.
Long-pulse power handling is 1st priority for 1st generation tokamak reactor.
L-mode edge NTT may provide possible solution.
We are ready for medium to large test NT tokamak.