LLNL-TR-775785

Analysis of a Uranium Ore Concentrate Sample Interdicted in Durban, South Africa

(FSC 14-1-1)

L. E. Borg1, Z. Dai1, G. R. Eppich1, B. K. Esser1, A. M. Gaffney1, V. G. Genetti1, P. M. Grant1, J. J. Hancke2, I. D. Hutcheon1, T. M. Kayzar1, G. L. Klunder1, K. B. Knight1, M. J. Kristo1, R. E. Lindvall1, N. E. Marks1, R. Mogafe2, K. J. Moody1, A. Nelwamondo2, C. E. Ramon1, E. C. Ramon1, M. Robel1, S. K. Roberts1, K. C. Schorzman1, M. A. Sharp1, M. J. Singleton1, R. W. Williams1

1Lawrence Livermore National Laboratory, Livermore, CA 94551

2 South Africa Nuclear Energy Corporation, Pretoria, South Africa

4 July 2014

Revised 10 December 2014

Abstract

We provide a concise summary of the analyses of a 1 kg uranium-rich sample seized in Durban, South Africa on 15 November 2013. Results are presented for compound identification, U assay, trace element abundances, Sr, Pb, U and Pu isotope compositions and model age. The sample is a fine-grained mixture of two common uranium compounds – ammonium uranyl fluoride and a hydrated uranium-ammonium oxide. The uranium isotope composition indicates the material is depleted in 235U relative to natural uranium, consistent with the initial NDA measurements performed by the Nuclear Energy Corporation of South Africa (NECSA). A comparison of the analytical results for this sample with data in the NNSA Uranium Sourcing Database failed to find a match, indicating the sample was not produced from a source or at a facility represented in the database. The presence of 236U and trace Pu point to the use of recycled (irradiated) uranium. Calculations of the performance of a graphite moderated reactor using natural uranium fuel suggest the characteristics of the Durban sample are consistent with the tails derived from fuel from a graphite moderated reactor irradiated to a burn-up of 1.6 GWD/MTU and used as the feedstock for an enrichment cascade producing uranium enriched in 235U to between 2 and 10%. The uranium isotope composition of the Durban sample is similar to that of commercial uranium-rich reagents.

Introduction

This report documents the analysis of a 1 kg uranium-rich sample seized by South African police in Durban, South Africa on 15 November 2013. The sample was initially analyzed by NECSA using non-destructive methods and determined to have an isotopic composition depleted in 235U with a 235U abundance of 0.32% compared to the value of 0.72% for natural uranium. In December 2013, the U.S. State Department and Department of Energy and the South African Department of International Relations and Co-operatives organized transportation of a ~10g aliquot of the sample to Lawrence Livermore National Laboratory (LLNL) on for a comprehensive nuclear forensic analysis. The results of these analyses are presented herein.

Analytical Methods

Shortly after the sample was received from Necsa, the entire sample was transferred to a plastic container and analyzed in the LLNL gamma-ray counting facility for 5 days. Following this analysis, ~1g was removed for analysis and split into aliquots. The analytical procedure began with XRD analyses, followed by analyses for compound identification, morphology, U concentration, trace element abundances, Sr, Pb U and Pu isotopes and age.

The phase composition was determined by X-ray diffraction (XRD). The samples were analyzed on a Bruker AXS D8 ADVANCE X-ray diffractometer equipped with a LynxEye 1-dimentional linear Si strip detector; DIFFRACplus Evaluation package Release 2009 software was used for data analysis. Morphology was characterized with an FEI Inspect FE-SEM equipped with a Kevex EDS x-ray system. A visible/NIR spectrometer (Analytical Spectral Devices, Inc.) equipped with three detectors that spanned consecutive spectral regions: 350 – 1000 nm (Vis+), 1000 – 1800 nm (NIR1), and 1800 – 2500 nm (NIR2) was used for optical spectroscopy. Trace element abundances were measured with a TherData reduction and analysis were performed using the Unscrambler X ver. 10.1 (CAMO Software AS). Trace element abundances were determined using a ThermoScientific ICAP-Q ICP-MS, while the U concentration was measured by Davies-Gray titration. Sr isotope compositions were measured following chemical separation by thermal ionization mass spectrometry (TIMS, ThermoScientific Triton), while Pb, U and Pu isotope composition were measured using mass spectrometry after dissolution in HNO3/HF using high-resolution multi-collector inductively coupled plasma-mass spectrometry (MC-ICP-MS, Nu Plasma). The time since the sample was last chemically reprocessed (model age) was determined using the 234U – 230Th chronometer.

Abundances of Radionuclides

Following the 5-day gamma-ray count, the abundances of radionuclides were determined using GAMANAL. Only the isotopes of uranium were detected and results are shown in table 1.

Table 1. Radionuclide abundances in the Durban uranium oxide.

| Radionuclide | Concentration (at. %)1 | Concentration (atoms) |
| --- | --- | --- |
| 95Zr |  | <1.23 x 107 |
| 106Ru |  | <1.85 x 109 |
| 125Sb |  | <3.69 x 108 |
| 137Cs |  | <1.85 x 109 |
| 144Ce |  | <3.69 x 108 |
| 155Eu |  | <3.69 x 108 |
| 234U | (1.020 ± 0.20) x 10-3 |  |
| 235U | 0.333 ± 0.001 |  |
| 238U | 99.67 ± 0.20 |  |

1. Uncertainties are 2 standard deviations

Phase composition

The analytical results are shown in Table 2.  The analyses demonstrate that the sample is a mixture of ammonium uranyl fluoride plus three hydrated uranium-ammonium oxide phases differing in the relative abundances of NH3 and UO3.

# Table 2 – Analytical x-ray diffraction results.

| Ammonium Uranium Fluoride | (NH4)2UF6 |
| --- | --- |
| Uranium Oxide Ammonia Hydrate | 2UO3·NH3·3H2O |
| Ammonium Uranium Oxide Hydrate | UO3·NH3·H2O |
| Ammonia Uranium Oxide Hydrate | UO3·zNH3·xH2O |

Optical Spectroscopy

Figure 1.  While light photograph of FSC 14-1-1.

The sample is a fine-grained powder as shown in the white light photo in Figure 1. Vis/NIR reflectance spectroscopy provided a rapid non-destructive evaluation of the phases present in the Durban sample. The inhomogeneity inferred from the visual appearance was confirmed with the spectral measurements. The sample appears to have been produced by the NH3 process with a relatively low drying temperature of between 85º and 150º C. Some lighter colored particles may have experienced a different temperature and/or may have come from a different location in the furnace or from a different batch but appear to have been produced by same process. Based on a comparison of the spectra for the Durban sample with samples in the Uranium

Sourcing Database, the Durban material is primarily ammonium uranate with one of the following the general formulae: (NH4)2U2O7, UO3·xH2O·yNH3, or UO2(OH)2·xH2O·yNH3 (Klunder et al., 2013).

Morphology

SEM/EDS reveals the sample is a fine-grained aggregate of tabular to anhedral grains raging in size from <0.2 to 1 m; thin platelets are particularly abundant. No correlation between chemical composition and morphology was observed. A number of small aggregates 5-10 m in size, composed of multiple fine grains are present (Figs. 2, 3).

Fig. 2. SEM secondary electron photomicrographs showing characteristic morphologies of FSC 14-1-1. (A) Dispersed particles; scale bar is 20 m. (B) Close up of aggregate composed of dispersed individual grains and clumps of grains; scale bar is 10 m. (C, D); Close-up views o individual grains showing varied morphologies; scale bars are 4 and 2 m, respectively.

Fig. 3. SEM secondary electron photomicrographs showing characteristic morphologies of the Durban sample. (A) Dispersed particles; scale bar is 2 m. (B, D) Views of platelets composed of particle aggregates; scale bars are 10 and 4m, respectively; (C) Close-up views of top surface of platelet shown in (B). Individual grains exhibiting varied morphologies are apparent; scale bar is 2 m.

Trace Element Abundances and U Assay

Trace elements abundances and U content were determined on separate aliquots of the dissolved sample; results are summarized in table 3. The trace element abundances are unremarkable other than the unusually high abundance of Cs (156 g/g). The total impurity content of ~400 g/g is low and more characteristic of a laboratory chemical rather than an industrial product (unless directly converted from UF6).

Table 3. Trace elements abundances and U content.

| Element | Technique | unit | Avg. (n=3) | uncertainty | Lc1,2 |
| --- | --- | --- | --- | --- | --- |
| Be | ICP-MS |  | 0.008 | 0.004 | 0.0025 |
| B | ICP-MS |  | 3 | 8 | 0.42 |
| Na | ICP-MS |  | 34.4 | 1.8 | 9 |
| Mg | ICP-MS |  | 1.3 | 1.3 | 0.6 |
| Al | ICP-MS |  | 8 | 2 | 1.2 |
| Si | XRF |  | <270 |  | 267 |
| P | XRF |  | <200 |  | 200 |
| S | XRF |  | <175 |  | 172 |
| Cl | XRF |  | <125 |  | 123 |
| K | ICP-MS |  | 90 | 30 | 14 |
| Ca | ICP-MS |  | 38 | 14 | 30 |
| Sc | ICP-MS |  | 0.28 | 0.16 | 0.026 |
| Ti | ICP-MS |  | 0.9 | 0.2 | 0.21 |
| V | ICP-MS |  | 0.23 | 0.03 | 0.0022 |
| Cr | ICP-MS |  | 8 | 3 | 0.2 |
| Mn | ICP-MS |  | 0.8 | 0.2 | 0.019 |
| Fe | ICP-MS |  | 100 | 30 | 3.3 |
| Co | ICP-MS |  | 0.36 | 0.04 | 0.002 |
| Ni | ICP-MS |  | 3 | 2 | 0.1 |
| Cu | ICP-MS |  | 0.78 | 0.16 | 0.05 |
| Zn | ICP-MS |  | 2.8 | 1.8 | 0.7 |
| Ga | ICP-MS |  | 0.009 | 0.002 | 0.00061 |
| Ge | ICP-MS |  | 0.023 | 0.02 | 0.005 |
| As | ICP-MS |  | 0.55 | 0.04 | 0.0016 |
| Se | ICP-MS |  | 12 | 0.5 | 0.4 |
| Br | XRF |  | <80 |  | 80 |
| Rb | ICP-MS |  | 0.088 | 0.005 | 0.014 |
| Sr | ICP-MS |  | 0.27 | 0.05 | 0.04 |
| Y | ICP-MS |  | 0.0026 | 0.0005 | 0.00022 |
| Zr | ICP-MS |  | 0.11 | 0.06 | 0.008 |
| Nb | ICP-MS |  | 0.113 | 0.009 | 0.00029 |
| Mo | ICP-MS |  | 18.8 | 0.9 | 0.01 |
| Ru | ICP-MS |  | 0.0007 | 0.0009 | 0.00022 |
| Rh | ICP-MS |  | 0.00028 | 0.00015 | 0.00011 |
| Pd | ICP-MS |  | 0.0011 | 0.001 | 0.0003 |
| Ag | ICP-MS |  | 0.23 | 0.03 | 0.006 |
| Cd | ICP-MS |  | 3.08 | 0.19 | 0.0019 |
| Sn | ICP-MS |  | 0.49 | 0.04 | 0.033 |
| Sb | ICP-MS |  | 2.12 | 0.14 | 0.003 |
| Te | ICP-MS |  | 0.86 | 0.13 | 0.006 |
| Cs | ICP-MS |  | 156 | 12 | 0.0041 |
| Ba | ICP-MS |  | 3 | 0.2 | 0.04 |
| La | ICP-MS |  | 8.9 | 0.5 | 0.0028 |
| Ce | ICP-MS |  | 0.061 | 0.003 | 0.0004 |
| Pr | ICP-MS |  | 0.0017 | 0.0006 | 0.00009 |
| Nd | ICP-MS |  | 0.005 | 0.002 | 0.00023 |
| Sm | ICP-MS |  | 0.0012 | 0.0007 | 0.00038 |
| Eu | ICP-MS |  | 0.0005 | 0.00016 | 0.00008 |
| Gd | ICP-MS |  | 0.0021 | 0.0006 | 0.00033 |
| Tb | ICP-MS |  | 0.00006 | 0.00018 | 0.000034 |
| Dy | ICP-MS |  | 0.0005 | 0.0007 | 0.0001 |
| Ho | ICP-MS |  | 0.00014 | 0.00008 | 0.000038 |
| Er | ICP-MS |  | 0.0005 | 0.0005 | 0.00016 |
| Tm | ICP-MS |  | 0.00011 | 0.00006 | 0.000019 |
| Yb | ICP-MS |  | 0.0005 | 0.0003 | 0.00013 |
| Lu | ICP-MS |  | 0.00012 | 0.00006 | 0.000025 |
| Hf | ICP-MS |  | 0.0017 | 0.0013 | 0.00054 |
| Ta | ICP-MS |  | 0.0009 | 0.0005 | 0.00007 |
| W | ICP-MS |  | 0.22 | 0.02 | 0.0015 |
| Re | ICP-MS |  | 0.0005 | 0.0002 | 0.000208 |
| Ir | ICP-MS |  | 0.0003 | 0.0005 | 0.0003 |
| Pt | ICP-MS |  | 0.0004 | 0.0007 | 0.0003 |
| Tl | ICP-MS |  | 0.298 | 0.015 | 0.00021 |
| Pb | ICP-MS |  | 7.6 | 0.5 | 0.007 |
| Bi | ICP-MS |  | 0.12 | 0.02 | 0.03 |
| Th | MC-ICP-MS |  | 0.170 | 0.018 | 0.0006 |
| U | D-G | g/g (%) | 74.9 | 0.5 |  |

1Limit of detection

2The units of the Lc values correspond to column 2.

Sr, Pb, U and Pu Isotope compositions and Age

The Sr, Pb and U isotope compositions were determined by MC-ICP-MS on chemically purified aliquots of the sample. The data are shown in tables 3-6 and Fig. 4. The uranium isotope composition indicates the Durban material is depleted in 235U compared to natural uranium, while the elevated 236U content indicates the parent material was irradiated in a nuclear reactor. The U-isotope composition of the Durban material was compared to soil samples from LLNL Site 300, where the U.S. conducts high explosive tests of materials containing depleted uranium. The U-isotope composition of Site 300 soils reflects mixing between U.S. depleted uranium from the tests and natural uranium from soil (Esser et al., 2002); no match was found. The Sr and Pb isotope compositions of the Durban sample and a variety of UOC samples are depicted in an isotope correlation diagram (Fig. 4). The data confirm the absence of a match between the Durban sample and any of the UOC samples in the U-Sourcing Database. The time since the sample was last chemically processed (model age) was determined using the 234U – 230Th chronometer; the model age is 30.9 ± 0.4 years, corresponding to a production date of 30 April 1982 with an uncertainty of 130 days. The model age assumes complete separation of Th and U during chemical processing and represents an upper limit to the actual time of production.

Fig. 4. Isotope correlation diagram  showing Sr and Pb isotope compositions of the Durban sample compared to UOC from Germany, Namibia, South Africa and Canada; data for the UOC samples are taken from the Uranium Sourcing Database (Robel et al., 2011). The lack of a match for the Durban sample with UOC from the database is apparent.

Fig. 5. Uranium 3-isotope plot showing 236U/238U and 235U/235U ratios for the Durban sample compared to values of several commercial uranium reagents; data from Richter et al. (1999). The composition of the Durban sample is similar to that of Merck 8476, a uranyl nitrate solution. The common depletion in 235U compared to natural uranium, suggests all of the samples are a by-product of enriched uranium produced for the nuclear power industry.

Table 4. Sr Isotope Composition

| Sample | 87Sr/86Sr | 2 | k | 84Sr/88Sr | 2 | k |
| --- | --- | --- | --- | --- | --- | --- |
| FSC-14-1-1-B | 0.708699 | 0.000040 | 2 | 0.056536 | 0.000026 | 2 |

Table 5. Pb Isotope Composition

| Sample | Pb (ng/g) | 208Pb/204Pb | 2 | k | 207Pb/204Pb | 2 | k | 206Pb/204Pb | 2 | k |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1-B | 552 | 37.849 | 0.023 | 2 | 15.6088 | 0.0076 | 2 | 18.0630 | 0.0086 | 2 |
| 1-B1 | 676 | 37.848 | 0.022 | 2 | 15.6090 | 0.0076 | 2 | 18.0633 | 0.0086 | 2 |

1Duplicate analysis.

Table 6. U Isotope Composition

| Isotope | Abundance (atom %) | Uncertainty |
| --- | --- | --- |
| 234U | 0.0021107 | 0.0000072 |
| 235U | 0.31963 | 0.00024 |
| 236U | 0.018592 | 0.000070 |
| 238U | 99.6597 | 0.0020 |

Table 7. Pu Abundance and Isotope Composition

| Sample | Pu (pg/g) | 2 | k | 240Pu/239Pu | 2 | k |
| --- | --- | --- | --- | --- | --- | --- |
| 1-B | 9.69 | 0.67 | 2 | 0.0719 | 0.0037 | 2 |

Reactor Models

To explore potential sources of the Durban sample, we modeled the performance of a graphite moderated, natural uranium (NU) fueled reactor using the MAGNOX reactor model included in the Origen-ARP component of SCALE 6.1 (Bowman and Cook, 2000). NU fuel irradiated for ~100 days to a burnup of 1.6 GWD/MTU would have a 240Pu content of ~14% at discharge. Assuming this fuel was then used as feedstock for an enrichment cascade producing 235U enriched to 2%, we used the ORNL MSTAR program to calculate the U isotopic composition of tails from the cascade. The calculated values, 234U /235U = 0.009 and 236U /235U = 0.04, agree reasonably well with the measured U-isotope composition of the Durban sample. Increasing the enrichment in 235U in the calculation to 10% also yields a 236U/235U ratio similar to the observed value but predicts a 235U abundance that is ~5% too low.

Summary

A U-rich sample interdicted in Durban, South Africa is a fine-grained mixture of two common uranium compounds – ammonium uranyl fluoride and a hydrated uranium-ammonium oxide. The presence of 236U and trace Pu point to the use of recycled (irradiated) uranium and the low trace element abundances and depletion in 235U relative to natural uranium suggest the material originated as a by-product of enriched uranium produced for the nuclear power industry. A comparison of the properties of the Durban sample with samples contained in the Uranium Sourcing Database using principal components analysis, partial least squares discriminant analysis and the iDAVE search engine failed to produce a match, suggesting the material was produced from a source and at a facility not represented in the database. Natural uranium fuel irradiated in a graphite moderated reactor for ~100 days and then used as feed for an enrichment cascade to produce low enriched uranium would generate tails having 234U and 236U contents in reasonable agreement with values measured in the Durban sample. Legitimate commerce in depleted uranium is worldwide and depleted UF6 can be converted to any uranium compound, depending on the end use, making it difficult to identify the source of the Durban sample.

Acknowledgement: We thank M. Penkin for valuable discussions. This work performed under the auspices of the U.S. Department of Energy by Lawrence Livermore National Laboratory under Contract DE-AC52-07NA27344; LLNL-TR-650596. Work supported by NNSA Confidence Building Measures Program.

References

Bowman, S.M. and Leal, L.C. (2000) Origen-ARP: automatic rapid process for spent fuel depletion, decay and source term analysis, ORNL Technical Report, http://web.ornl.gov/sci/scale/pubs/orignarp.pdf.

Esser, B., Williams, R.W. and Taffett, M. (2002) Isotopic Characterization of Depleted Uranium in Contaminated Soils and Groundwaters, Amer. Chem. Soc. Annual Meeting.

Klunder, G.L., Plaue, J.W., Spackman, P.E., Grant, P.M., Lindvall, R.E. and Hutcheon, I.D. (2013) Application of Visible/Near-Infrared Reflectance Spectroscopy to Uranium Ore Concentrates for Nuclear Forensic Analysis and Attribution, Appl. Spectros. 67, 1049-1056.

Richter, S., Alonso, A., Wellum, R. and Taylor P.D.P (1999) The isotopic composition of commercially available uranium chemical reagents, Jour. Anal. Atom. Spectr. 14, 889-891.

Robel, M., Hutcheon, I.D., Kristo, M.J. and Lindvall, R.E. (2011) The uranium sourcing database project: a comprehensive international nuclear forensics collaboration from ore to attribution, Inst. Nucl. Mats. Mgmt. 52nd Annual Meeting, LLNL-CONF-486157.