## Slide 1: Enhancing Sustainable Nuclear Security Operations Through Participation In The Coordinated Research Project On Improved Assessment Of Initial Alarms
P. N. G. RatHnaweera1*, P. D. MAHAKUMARA 1, R. A. N. C. RANASINGHE 1,
I. U. W. LIYANAGE 2, C. MASSEY 3 ,C. IAMSUMANG 3
1 Radiation Protection & Technical Services Division, Sri Lanka Atomic Energy Board, Colombo, Sri Lanka
2 Megaport Surveillance Unit, Sri Lanka Customs, Colombo, Sri Lanka
3 Division of Nuclear Safety and Security, International Atomic Energy Agency
Presented by: P.N.G. RATHNAWEERA
1*nirasha@aeb.gov.lk

## Slide 2: Challenges faced by Sri Lanka in controlling illicit trafficking
Located as a maritime hub in world’s main shipping routes
  A lot of transshipments are going through the Colombo sea port, making it one of the busiest ports in the region. 5.1 million TEU containerized cargo was handled during the year 2015
Handling the Nuclear Security at the Katunayake Airport
  400 connected cities worldwide
  10,883,904 Passenger movements in year 2018
  67,308 Aircraft movements with 279,560 Cargo movements in year 2018
A lot of undesignated ports are available due to the geological location as an island in Indian ocean, closer to Indian peninsula.

## Slide 3: Radiation Monitoring at Colombo Sea port

## Slide 4: Radiation Monitoring at Colombo Sea port
Local Alarm Station (LAS)
Radiation Portal Monitor (RPM)
LAS
RPM
Central Alarm Station (CAS)
SL Customs (Megaport)
CAS operations
Investigations
Coordination among other counterparts
SL Ports Authority
Provide security for port operations
LAS operations & Maintenance
SL Atomic Energy Board & SL Atomic Energy Regulatory Council
As a technical reach back, provide technical & legal assistance to manage the Radioactive Materials
LAS
RPM
Challenges
Training
  Based on the frequency of internal transfers of the officers
  Lack scientific knowledge in the field
  Quick guide for Alarm assessment
SOP Development
Equipment sustainability
(Maintenance/ Expert knowledge)
Proper networking (Internal & External)
Knowledge Sharing & Best Practices
Up to date knowledge in the field

## Slide 5
360 degree feedback about Alarmed Cargo Release
Management of SL Customs
CAS Operators
LAS Operators
Consignees
Time study of Alarmed Cargo Release

## Slide 6
Joined the CRP No. J02005 in Year 2015 as a collaborative work between SL Customs and the SL Atomic Energy Board
Actively participated to,
  The pilot study of the project
  Initial data collection to formulate the NORM catalog
  Additional testing for,
    Radiation profile of Empty Container
    Speed test with NORM commodities
    Effect of background for small vehicles
    Effect of Elevated / Non elevated RPM setups
  Testing results of TRACE App
  Knowledge Sharing with the CRP members
Involvement to the IAEA Coordinated Research Project J02005

## Slide 7
Pilot Study
COMBINATION | NO OF CONTAINERS
SPM | 68
NaI | 1
HPGe | 1
SPM+NaI | 5
SPM+HPGe | 5
SPM+HPGe+X-ray | 1
NaI+X-ray | 1
SPM+NaI+HPGe | 17
SPM+NaI+HPGe+X-ray | 1
Total | 100
Additional Tests
TRACE Testing
Chart: TRACE Test Results (Total Alarms)
 | 189 | 74 | 43
Chart: TRACE Alarm Results (Commodity)
| HS_691090 | HS_691200 | HS_310520 | HS_250700 | HS_691110 | HS_691010
Green | 62 | 100 | 41 | 63 | 91 | 50
Yellow | 33 | 0 | 18 | 9 | 9 | 0
Red | 5 | 0 | 41 | 28 | 0 | 50
Chart: 
| 0 | 0 | 0 | 0 | 0 | 0 | 0.18800000000000239 | 0.375 | 0.57800000000000296 | 0.78099999999999881 | 0.98499999999999943 | 1.171999999999997 | 1.375 | 1.578000000000003 | 1.7809999999999988 | 1.9849999999999994 | 2.1880000000000024 | 2.375 | 2.578000000000003 | 2.7809999999999988 | 2.9849999999999994 | 3.171999999999997 | 3.375 | 3.578000000000003 | 3.7809999999999988 | 4 | 4.171999999999997 | 4.375 | 4.578000000000003 | 4.7809999999999988 | 4.9849999999999994 | 5.171999999999997 | 5.375 | 5.578000000000003 | 5.7809999999999988 | 5.9849999999999994 | 6.171999999999997 | 6.375 | 6.5940000000000012 | 6.7809999999999988 | 6.9849999999999994 | 7.171999999999997 | 7.3909999999999982 | 7.5940000000000012 | 7.7809999999999988 | 7.9849999999999994 | 8.1880000000000024 | 8.3909999999999982 | 8.578000000000003
L17_5km/h | 44.25 | 39.25 | 41.25 | 42 | 36.75 | 44.25 | 37.25 | 41.25 | 49.75 | 48.25 | 54 | 53.5 | 61.5 | 68.5 | 72.25 | 89.25 | 105.5 | 111.5 | 139 | 153.5 | 154.25 | 152.25 | 164.75 | 152 | 158.75 | 163.25 | 154.5 | 152 | 144.75 | 146.25 | 136 | 140.25 | 131 | 132.25 | 110 | 105.25 | 89.25 | 81.5 | 71.5 | 57.5 | 60.25 | 58.5 | 61 | 48.5 | 58.75 | 56 | 51.75 | 42.25 | 40.25
L10_5km/h | 57.25 | 55 | 50.5 | 55.75 | 52 | 50.25 | 60.5 | 58.25 | 64 | 64.25 | 70.75 | 75 | 77 | 91.75 | 102.75 | 134.25 | 142 | 153.25 | 156.25 | 176.25 | 178.5 | 164 | 165.75 | 168.5 | 162 | 161.75 | 148.25 | 156 | 155.5 | 153.75 | 151.25 | 145.25 | 144.25 | 138.5 | 112.5 | 116.5 | 97.25 | 91 | 68 | 75.75 | 66 | 65.5 | 68.5 | 65.75 | 59 | 54 | 55.5 | 63 | 57.75 | 52 | 65.5
Effect of
Elevated /Non elevated of RPM
Profile of
Empty Container
Speed test

## Slide 8
Outcomes & Benefits
The participation in the CRP has also enhanced collaboration and expert knowledge among the stakeholders of national nuclear security regime through:
  Sharing the technical knowledge and onsite experience (FLO/ Experts)
    Introduce TRACE among the other related parties such as Consignees, Ports Authority,
    Military and Police etc. through existing awareness programs
  Implementation of trainings
  Development of methodologies - Update the SOP by including IAEA TRACE APP
  Improvement of detection capabilities
The sustainability of the nuclear security culture in Sri Lanka has been enhanced through:
  Improved utilization and understanding of detection instruments and how to repair, maintain, and calibrate the instruments for optimum performance,
  Improved and focused training through need analysis and a systematic approach to training (SAT)
  Improved Standard Operation Procedures (SOPs) that take advantage of the TRACE tool and have ensured to be used as a consistent and reliable source of information,
  Development of new approaches to implementing effective nuclear security detection operations.

## Slide 9: TRACE User Training for FLOs
30 minutes topic (English) - Front Line Officer operator training curricular (NSDD) in 2019 March
Have conducted several training sessions so far,
Introducing the system to all Customs officers during general training programmes (ASC/ SC / Appraisers)
Structure of Training
  Introduction
  How to Install
  Content of the app
  Working with app - General & Specific
  Activities
Training Materials
IAEA TRACE Presentation
Video clip

## Slide 10
International Cooperation
The CRP has provided an excellent pathway for the following:
Sharing knowledge, experience and best practices through:
  Technical & Scientific Visits among the CRP members
  Technical workshops to share enhanced alarm and data analysis capabilities
  Interactions with technical experts and equipment manufacturers
Take part in professional and other global nuclear security networks
(IAEA- FLO, IAEA-NSSC, World Custom)

## Slide 11
  Technical Visit to Colombo Port, Sri Lanka
Period : 2016.04.25 - 2016.04.28
Location: Port of Colombo
No of Participants : 09
Countries:
      Pakistan
      Thailand
      Jordan
      Cambodia
      Djibouti
Technical Visits
  Technical Visit to Phnom Penh Autonomous Port, Cambodia
Period : 2017.12.11 -2017.12.14
Location: Phnom Penh Autonomous Port
No of Participants : 07
Activities:
  • Introduction about CRP & TRACE of IAEA.
  • Site visit and collecting necessary site measurements.
  • Alarming data & empty container data was collected & analyzed.
  Existing problems in the system were discussed
Distribution Function for Ceramic Tiles

## Slide 12
Programme | Dates | Place | Title of Presentation
Second Technical Meeting on Radiation Detection Instruments for Nuclear Security: Trends, Challenges and Opportunities | 16-20 April,2018 | VIC, Vienna, Austria | Involvement of Sri Lanka for CRP on Improved Assessment of Initial Alarms From Radiation Detection Instruments (J02005)
International Conference on the Security of Radioactive Material | 03-07 December,2018 | VIC, Vienna, Austria | Identification of effective parameters and their relations for normalization of radiation profiles from radiation portal monitors for initial alarm assessment at the ports of entry
The Ninth International Symposium on Naturally Occurring Radioactive Material | 23-27 September,2019 | Denver, Colorado | Challenges in applying safety and security measures in NORM alarm assessments in Colombo, Sri Lanka seaport
Panel Discussion on Facilitating Trade While Preventing Nuclear Smuggling | 13 November 2019 | VIC, Vienna, Austria | Facilitating Trade While Preventing Nuclear Smuggling Sri Lanka
Publications in International Meetings

## Slide 13: Acknowledgement
Management of Sri Lanka Customs and
Mega Port Surveillance Unit
Management of Sri Lanka Atomic Energy Board
International Atomic Energy Agency

## Slide 14: Thank You ! ….