## Slide 2: Extended assessment of nuclear and alternative electricity generating technologies based on their impact on national GDP (Cost-to-GDP concept)
Sergey Rozhenko
Director, Power Analytics, Kept (Russia)
October, 2024

## Slide 3
Small Modular Reactors costs
Source: “Scalling Success. Navigating the Future of Small Modular Reactors in Competitive Global Low-Carbon Energy Markets”, NNWI, 2023.
Small Modular Reactors
SMRs are defined as nuclear reactors with a maximum output of 300 Megawatt electric (MWe) for generating electricity
SMR – too expensive to be competitive?
Cost range of SMRs

## Slide 4: Specifics of generation cost assessment
Part 1

## Slide 5
LCOE and its applications
LCOE
A measure of the average net present cost of electricity generation for a generator over its lifetime
What is LCOE used for:
Comparison of electricity production costs by source
Energy planning – core of methodology of Least Cost Generation Planning
Policy advocacy and lobbing
Simple and powerful political tool
Source: Kept analysis.

## Slide 6
Global research count for electricity cost studies #LCOE topic
Global research statistic on LCOE
Source: ResearchGate, Science Direct, Kept analysis.
Increasing interest
>10,000 papers
>85% related to VRE
CAGR 28% over 10Y

## Slide 7
Levelized Cost of Energy Comparison
LCOE =
Wind
24 – 140 $/MWh
Solar PV
24 – 282 $/MWh
CCGT
39 – 101 $/MWh
Geothermal
61 – 102 $/MWh
Coal
68 – 166 $/MWh
Gas Peaking
115 – 221 $/MWh
Nuclear
141 – 221 $/MWh
Source: Lazard (2023).
The most expensive

## Slide 8
LCOE: Historical Utility-Scale Generation Comparison
Nuclear
180 $/MWh
Source: Lazard (2023)
The most expensive
The cheapest
Wind & Solar
50-60 $/MWh

## Slide 9
LCOE methods extensions
Existing and proposed LCOE-based approaches
Source: Kept analysis.
Base methodology of LCOE
Energy adjustments
Macro-economy adjustments
Cost adjustment
(SystemLCOE)
Value adjustment
(VaLCOE)
Cost adjustment
Cost to GDP
(RealLCOE – NEW)
Value adjustment
Contribution to GDP
(WIP)
NEW method to discuss
Existing methodologies

## Slide 10
System LCOE: method to account for integration costs
System LCOE for increasing shares of wind
Source: UECKERDT, F., HIRTH, L., LUDERER, G., EDENHOFER, O., System LCOE: What are the Costs of Variable Renewables, Potsdam-Institute for Climate Impact Research, Germany, 2013.
System LCOE
Generation costs
Integration costs
(balancing, profile, grid)

## Slide 11
VaLCOE: method to account for value of power sources
Source: IEA.
The value-adjusted LCOE (VALCOE) approach
VaLCOE
Generation costs
Additional value
(energy, capacity, flexibility)

## Slide 12
LCOE concept is core to Least cost generation planning (LCGP): Donor funded LCGP for Tanzania (example #1)
Scenario “Unaffordable fossil fuels”
Scenario
“Cheap green future”
… but often fails to deliver in practice

## Slide 13
LCGP Technical issues not addressed: “Dunkelflaute”
and dispatchable generation in Germany (example #2)
Power generation by plant type in Germany, week 43, 2023
Source: S&P Global Analytics, Energy-Charts.info, Kept analysis.
Hydro
Coal (brown/lignite)
Wind on-offshore
Other
Solar
Coal (hard)
Gas
Biomass
Load
20,000
23.10.2023
24.10.2023
25.10.2023
27.10.2023
28.10.2023
29.10.2023
40,000
60,000
0
Power (MW)
80,000
26.10.2023
Date (GMT+2)
Germany invested €15 bn into coal generation in 2018-2020 due to
the need for dispatchable generation
Plans for additional 10GW gas new builds released Feb 2024

## Slide 14
LCGP Cost uncertainty not addressed: Typical donor funded least cost generation plan in Africa (example #3)
… and too cost uncertain in long term for policy decisions
Cost difference by scenario <2% (!) for 20Y+

## Slide 15
LCOE methods extensions – Cost-to-GDP method
Existing and proposed LCOE-based approaches
Source: Kept analysis.
Base methodology of LCOE
Energy adjustments
Macro-economy adjustments
Cost adjustment
(SystemLCOE)
Value adjustment
(VaLCOE)
Cost adjustment
Cost to GDP
(RealLCOE – NEW)
Value adjustment
Contribution to GDP
(WIP)
NEW method to discuss
Existing methodologies

## Slide 16: Cost-to-GDP concept
Part 2

## Slide 17
Real LCOE approach
Cost to GDP (Real LCOE) based comparison of generation sources
Source: IEA, IAEA, NEA, NREL, Lazard, Kept analysis.
Cost-to-GDP Concept
Least cost generation planning
Economic and GDP planning
Least cost to GDP concept

## Slide 18
Cost to GDP – new concept of energy planning
Existing and proposed integrated energy planning concepts
Source: Kept analysis.
Least cost generation planning
Economic and GDP planning
Least cost to GDP energy planning
CAPEX and OPEX to generate electricity (by generation type)
Generation by plants over their life cycle
Integration costs (SystemLCOE)
SystemLCOE model
Input-output model
Cost-to-GDP model
Investment in the economy
Government expenditures
End use
Net export (export-import)
Levelized cost
Deduction of the localization share (technology, fuel, personnel, services, cost of financing)
New integral electricity cost metric “RealLCOE”: cost share of imports within LCOE comprising imported fuel, equipment and services, adversely impacting GDP
Levelized cost
Contribution to GDP
Cost to GDP (RealLCOE)

## Slide 19
New Just: Paths to Affordable Energy Transition in Eastern and Southern Africa - Kept research
2
Scale of challenge
Transition paths
Role of energy sources
Climate impact
Affordability
Manageability of Transition
1
3
4
5
6
>10,000 variables
21 countries
4 regions:
Egypt, EAR, SAR, South Africa
Similar Study on Middle East is ongoing
Key issues

## Slide 20
RealLCOE and system costs by technology and region
Current and future localization level by type of technology and region
Source: IEA, NEA, IRENA, NREL, Lazard, EIU Data, Kept analysis.
1
2
3
4
5
6
7
8

## Slide 21
Impact of the supply chain localization on RealLCOE
Current and future localization level by type of technology and region
Solar, Wind
< 20-25 %
reference values
Nuclear & SMR
> 35-50%
with up to 70% possible
Local content
Source: Kept analysis.

## Slide 22
Cost range of SMRs
Specifics of SMRs
Source: “Scalling Success. Navigating the Future of Small Modular Reactors in Competitive Global Low-Carbon Energy Markets”, NNWI, 2023.
Small Modular Reactors
SMRs are defined as nuclear reactors with a maximum output of 300 Megawatt electric (MWe) for generating electricity.
SMR (example)
119 $/MWh

## Slide 23
SMR vs renewables cost ranking by method
Source: Kept analysis.
Costing Method Impact
SMR is often cost competitive vs renewables on total power system and economic costs
(cost to GDP)

## Slide 24
There are no rich countries with low electricity consumption
Interdependence of electricity and economy
GDP & electricity consumption by country, 2020
Source: AEP, IEA, World Bank, Kept analysis. Note: *Eastern and Southern Africa (ESA) not including South Africa and Egypt
Electricity consumption per capita
Sub-Saharan Africa
Indonesia, India
South Africa
China
Russia
G7 (average)
USA
~200 kWh
~1,000 kWh
8,300 kWh
7,300 kWh
5,900 kWh
14,000 kWh
3,500 kWh

## Slide 25
Practical use for early-stage energy and economic planning
Source: Kept analysis.
1 – Gas (CCGT)
3 – Hydro (Dam)
2 – Solar
Classification of technology applicability options depending on the LCOE and RealLCOE estimates
4 – Nuclear (SMR)
6 – Nuclear (Large)
7 – Coal
5 – Wind
8 – Coal (LTO)
LCOE
Low
High
RealLCOE (Cost-to-GDP method)
High
Opportunity for economic momentum
Worst option
I
III
II
IV
Best option
Risk of resource leakage
1
2
3
4
5
8
7
6
South Africa case:

## Slide 26: Summary

## Slide 27
Summary
Cost-to-GDP approach (RealLCOE):
LCOE – cost assessment and policy advocacy method
Objectively takes into account the costs to the economy:
technology expenditures
integration costs
the share of local content
Provides adequate results according to
the specifics of developing countries
Easy to implement for complex systems
Easy to communicate with decision makers
Source: Kept analysis.

## Slide 28
About Kept & Power Analytics
  Consulting engineering group in power sector
Feasibility studies
Power market
analysis
01
02
Sectoral development
plans
03
Transaction advice
04
Major generating companies, financial institutions and government authorities
  Our clients:
www.kept.ru
Russia
Central Asia
South Caucasus
Balkans
East & South Africa
South Asia
Middle East
  Regions of expertise:
An audit and advisory firm working in Russia for
  more than 30 years
Leading Advisory firm in Russia since 2009
  11 offices in the largest cities
of Russia and Belarus
Employing together
  3,800 people
About Power Analytics team
About Kept

## Slide 29
Contacts
Director,
Energy & Utilities, Power Analytics
Center of Excellence
Т: +7 495 937 44 44
M: +7 916 063 03 19
E: srozhenko@kept.ru
Sergey Rozhenko
The information contained herein is of a general nature and is not intended to address the circumstances of any particular individual or entity. Although we endeavor to provide accurate and timely information, there can be no guarantee that such information is accurate as of the date it is received or that it will continue to be accurate in the future. No one should act on such information without appropriate professional advice after a thorough examination of the particular situation.
Some or all of the services described herein may not be permissible for audit clients and their affiliates or related entities.
www.kept.ru
Manager,
Energy & Utilities, Power Analytics
Center of Excellence
Т: +7 495 937 44 77
M: +7 926 777 65 62
E: vkarle@kept.ru
Vadim Karle