## Slide 1
153-120000-001-000

## Slide 2
Heat Distribution Results from Experiments Using an Array of Five Sodium Heat Pipes
Pablo Diaz Gomez Maqueo
2024 OCTOBER 23

## Slide 3
Introduction
SECTION 1

## Slide 4
Introduction
Heat Pipe
Reactor Core
Generator Device
(e.g. Stirling Engine)
Heat pipes are a passive heat transport device:
Simplified design
No moving parts*
Self-regulating
Water heat pipes are widely used in industry for low temperature applications (less than 300 °C)1.
Alkali metal heat pipes such as sodium or potassium are adequate for higher temperatures (above 500 °C)1 and provide a high heat transport capability.
Zohuri, B., & Zohuri, B. (2019). Basic Principles of Heat Pipes and History. Heat Pipe Applications in Fission Driven Nuclear Power Plants, 161-202.
https://en.wikipedia.org/wiki/File:Beta_stirling_animation.gif
[1] Peterson, G. (1994). An introduction to heat pipe modeling, testing and applications, John Wiley and Sons.

## Slide 5
Introduction
https://westinghousenuclear.com/energy-systems/evinci-microreactor
Heat pipe reactor concepts in the Canadian Nuclear Landscape:
Westinghouse – eVinci
Dunedin – Canadian Nuclear battery
AECL Nuclear Battery (1980s)
Other example concepts in the US2:
Micro Nuclear, LLC – Micro Scale Nuclear Battery
NuScale Power – NuScale Microreactor
Oklo – Aurora
[2] Black, G., Shropshire, D., Araújo, K., & van Heek, A. (2022). Prospects for Nuclear Microreactors: A Review of the Technology, Economics, and Regulatory Considerations. Nuclear Technology, 209(sup1), S1–S20
Example of a heat pipe reactor: Westinghouse eVinci Model

## Slide 6
Methodology
SECTION 2

## Slide 7
HTFC Laboratory Systems
Containment Cell
Containment Cell
20’ high, 30’ x 20’ wide
EMI protection, Bonded
Fire rated
Ventilation
High Pressure Gas
Argon, Helium,
Carbon-dioxide, Nitrogen
Argon-oxygen, hydrogen
Up to 20 MPa
Power Supplies
500 kW DC
50 kW AC
10 kW Induction
Multiple AC outlets (600 – 120V)

## Slide 8
Experiment description
Heat pipe experiment setup
  36 in (91 cm) tall sodium heat pipe
  Five 2 kW heat pipes
  Effect of transient change in power
  Three heat pipes can be disabled
The heat pipe experimental rig is designed to be technologically and vendor agnostic and to be able to produce data that is useful for benchmarking simulation codes and independent assessments
Heat pipe experiment design
Heating block
Heat pipes
(5x)
Cooling block

## Slide 9
Large Heaters
(1.50 kW)
Heating and cooling blocks
Cooling
Channels
Small Heaters
(0.50 kW)
7.62 cm
(3 in)
1
3
5
2
4
3
1
5
2
4
Heat Pipes
Heating Block Top View
Cooling Block Top View
Heat Pipes
Example of applied power (at 60%)
Heat Transfer
Through Heat Pipes
Measurements:
Voltage
Current (shunt resistors)
Measurements:
Flow rate
Pressure
Temperature
Heating and cooling block details
Power is controlled with solid state relays using on/off cycles
Each on/off cycle is 4 seconds long
Reported power is the average delivered power per cycle
1 Cycle (3.6 kW average)
On|Off

## Slide 10
Thermocouples and heat pipe actuation
Heating and cooling block details
1
3
5
2
4
3
1
5
2
4
Heating Block Top View
Cooling Block Top View
1.91 cm
(0.75 in)
15.24 cm
(6.0 in)
3.81 cm
(1.5 in)
15.24 cm
(6 in)
22.86 cm
(9 in)
11.43 cm
(4.5 in)
22.86 cm
(9 in)
11.43 cm
(4.5 in)
11.43 cm
(4.5 in)
22.86 cm
(9 in)
1.27 cm
(0.5 in)
1.27 cm
(0.5 in)
Base
Mid-Point
Top
Heat pipes with valves capable of being disabled:
Heat Pipe #1
Heat Pipe #4
Heat Pipe #5
Pre-test simulations:

## Slide 11
Results
SECTION 3

## Slide 12
Baseline Commissioning Experiments
~470 °C

## Slide 13
Baseline Commissioning Experiments
Tdiff @ 90 min
Minimum Tdiff
Maximum Tdiff
Tdiff @ 240 min
Cooling block reached temperature

## Slide 14
Pulsed Power and Disabling of Heat Pipes
3
1
5
2
4
Heating Block Top View
5 min
5 min
Observations:
  Pulsation period of 5 minutes corresponds to power input
  Higher amplitude at heating block
  Pulsations observed at cooling block

## Slide 15
Pulsed Power and Disabling of Heat Pipes
Tdiff @ 48 min
Minimum Tdiff
Tdiff @ 240 min
Tdiff @ 68 min
Observations:
  Cooling block did not reach temperature
  Failed heat pipes show a drop in temperature at mid-point and at the top near the cooling block
  Failed heat pipes show an increase in base temperature
  Temperature difference is observed at the cooling block

## Slide 16
Transient Non-uniform Heating
3
1
5
2
4
Heating Block Top View
Zone 1
Zone 4
Zone 2
Zone 3
Observations:
  Oscillations are only observed at heating block
  Heat pipe temperature in the adiabatic section remain constant
  Previously failed heat pipes could not be recovered
Power remains
constant

## Slide 17
Transient Non-uniform Heating
Observations:
  Cooling block did not reach temperature
  Failed heat pipes 4 and 5 show similar temperature distributions as in pulsed power test
  Heat pipe 1 has a sudden increase in temperature along the adiabatic section.
  Heat pipe 1 has a drop in temperature at cooling block
Minimum Tdiff
Tdiff @ 90 min
Tdiff @ 250 min

## Slide 18
Summary
SECTION 4

## Slide 19
Summary
Key points:
On the first experiment, measurements demonstrated the expected functionality of the sodium heat array.
For the second experiment, power pulses produced associated heat pipe temperature fluctuations. Once back to constant power, the temperature fluctuations stopped, showing no pulsing instability for this experiment at the conditions tested.
After disabling two heat pipes, the temperature at the base increased while the temperature at the top decreased.
For the third experiment, temperature on the heating block varied as power oscillated through the four zones. However, this oscillation was not seen on the adiabatic section (base, mid, and top), or the cooling block.
After disabling heat pipe #1 during the third experiment, it kept operating as if enabled but with an effectively reduced condenser length.

## Slide 20
This work was supported by Atomic Energy of Canada Limited’s Federal Nuclear Science & Technology Work Plan.
Questions?