IPEN/CNEN (Brazil) Contribution to the ATF-TS CRP and Bridging Activities for ATF Development

Alfredo Abe a, Claudia Giovedib and Antonio Teixeira e Silvaa

aInstituto de Pesquisas Energéticas e Nucleares (IPEN/CNEN-SP), São Paulo, BRAZIL

bSchool of Enginneering - University of São Paulo (USP), São Paulo, BRAZIL

Corresponding author: Alfredo Abe, ayabe@ipen.br

Introduction

Since the Fukushima Daiichi nuclear accident, the vulnerability of current fuel designs under severe accident conditions has been widely recognized. As a result, alternative and advanced fuel designs that offer greater resistance to fuel failure and hydrogen production have been actively explored. In this context, at the request of Member States, the IAEA has organized several Technical Meetings[1] and Coordinated Research Projects (CRPs)[2,3] to support the design and development of Accident Tolerant Fuel (ATF) technologies.

The IPEN/CNEN participated in the two most recent CRPs, FUMAC[2] and ACTOF[3]  by performing fuel performance simulations for different ATF fuel designs under both normal and accident conditions. These simulations were conducted using the FRAPCON/FRAPTRAN[4,5] and TRANSURANUS[6] codes.

The aim of this work is to present an IPEN/CNEN contribution to ATF-TS CRP and future activities towards to FeCrAl development as cladding.

Initially, the proposed activities for ATF-TS CRP comprised  of assessment and modification of the TRANSURANUS code to account for FeCrAl cladding, enabling the simulation of separate-effect burst experiments and the development of a LOCA evaluation methodology.  Moreover, activities related to methodology development for safety analysis considering various LOCA accident scenarios, including SBLOCA, LBLOCA, and DEC-A was performed taking to account the IFA-650 [2] experimental series.

ATF-TS CRP Scope

As recommendation of the previous CRP´s dedicated to ATF[1,4], the CRP ATF-TS was created and  started in April  2020 and ended in December 2024 with 22 member states participation aiming to support their efforts to design and development an accident tolerant for light water reactors in order to increase the safety and reliability.

This CRP consists of four different groups and objectives:

- Work task 1:  is dedicated to conducting single rod and bundle experimental tests using potential candidates for Accident Tolerant Fuels. These tests aim to evaluate the performance and behavior of ATF materials under various conditions, helping to identify promising candidates for further development, as well as obtain material properties data useful for fuel performance codes.

- Work task 2: is focused to benchmark fuel performance codes by considering experiments conducted in Work task 1, as well as existing tests and data on advanced fuel, including cladding materials. By comparing simulation results with experimental data, this work task aims to improve the accuracy and reliability of fuel performance predictions.

- Work task 3: aims to evaluate Loss-Of-Coolant Accident (LOCA) methodologies using a best estimate plus uncertainty approach for nuclear power applications in order to  enhance safety assessments for reactor operation and design.

- Work task 4: is dedicated to compiling a comprehensive database of available material data, properties, and correlations for ATF materials. Moreover, aims to create a valuable open-source resource for researchers and engineers. By centralizing relevant information will facilitates access to critical data needed for ATF development and implementation.

The primary objective of this work is to present the results and activities conducted under Task 2, and to identify the necessary actions to bridge existing knowledge with future applications of FeCrAl as cladding, based on the findings of this task.

Based on discussions held during the ATF-TS meetings, particularly those concerning the experimental and computational results for FeCrAl, it is evident that further investigations are necessary. In particular, additional experiments involving variations in cladding thickness and alloy composition are needed to better understand their influence on cladding burst behavior. Furthermore, as FeCrAl is considered a promising candidate for Accident Tolerant Fuel (ATF) cladding in the near future, it is essential to initiate targeted efforts and specific assessments to establish safety limits and licensing criteria, in a manner similar to those developed for zirconium alloys.

ACKNOWLEDGEMENTS

This work has been carried out under the ATF-TS CRP framework and the experiment data were organized by the International Atomic Energy Agency (IAEA) in cooperation with the Atomic Energy Research Institute of the Hungarian Academy of Sciences.

The authors acknowledge and are grateful to European Commission, Joint Research Centre, Directorate for Nuclear Safety and Security (Karlsruhe, Germany) for the TRANSURANUS code license, which made it possible to perform the ATF-TS CRP activities.

REFERENCE

[1] IAEA, 2016, Accident tolerant fuel concepts for light water reactors (Proc. of a Technical Meeting held at Oak Ridge National Laboratories, USA, 13-16 October 2014.), IAEA-TECDOC-1797.

[2] IAEA, 2019, Fuel Modelling in Accident Conditions (FUMAC) Final Report of a Coordinated Research Project, TECDOC-1889.

[3] IAEA, 2020, Analysis of Options and Experimental Examination of Fuels for Water Cooled Reactors with Increased Accident Tolerance (ACTOF) Final Report of a Coordinated Research Project, TECDOC-1921.

[4] GEELHOOD, K. J.; LUSCHER, W. G.; RAYNAUD, P. A. e PORTER, I. E.; PACIFIC NORTHWEST NATIONAL LABORATORY.   FRAPCON-4.0: a computer code for the calculation of steady-state, thermal-mechanical behavior of oxide fuel rods for high burnup, 2015, (PNNL-19400, Vol.1 Rev2).

[5] Geelhood, K. J. et. alli.; PACIFIC NORTHWEST NATIONAL LABORATORY.. FRAPCON-4.0: A computer code for the calculation of steady-state, thermal-mechanical behavior of oxide fuel rods for high burnup, 2015, (PNNL-19400, Vol.1 Rev2).

[6] K. Lassmann; TRANSURANUS: a fuel rod analysis code ready for use; J. Nucl. Mater.188, pp. 295–302 (1992).