## Slide 1: Design Concept of K-DEMO for Near-Term Implementation
Fusion Energy Conference
Oct 16th, 2014
National Fusion Research Institute
kkeeman@nfri.re.kr

## Slide 2
Background

## Slide 3: Mid-Entry Strategy in 1995
PLT
ALCATOR C
PDX
DIII
TFTR
DIII-D
JET/TFTR
JET
TFTR
JT-60U
ALCATOR A
DEMO
1970
1975
1980
1985
1990
1995
2000
2005
2010
1KW
1MW
1GW
1W
SNUT-79
2015
2020
2040
JET
T-3
(1968)
1965
ATC
KAIST-T
KT-1
KSTAR
ITER
Conventional Device (Cu)
Superconducting Device
SC Device
Fusion Power
Year
3

## Slide 4: KSTAR Mission and Parameters
4
To achieve the superconducting tokamak construction and operation experiences, and
To develop high performance steady-state operation physics and technologies that are essential for ITER and fusion reactor development
Major radius, R0
Minor radius, a
Elongation, 
Triangularity, 
Plasma volume
Bootstrap Current, fbs
PFC Materials
Plasma shape
Plasma current, IP
Toroidal field, B0
Pulse length
N
Plasma fuel
Superconductor
Auxiliary Heating / CD
Cryogenic
PARAMETERS
1.8 m
0.5 m
2.0
0.8
17.8 m3
> 0.7
C, CFC (W)
DN, SN
2.0 MA
3.5 T
300 s
5.0
H, D
Nb3Sn, NbTi
~ 28 MW
9 kW @4.5K
Designed
1.8 m
0.5 m
2.0
0.8
17.8 m3
-
C
DN
1.0 MA
3.6 T
10 s
> 1.5
H, D, He
Nb3Sn, NbTi
~ 6 MW
5 kW @4.5 K
Achieved
KSTAR Parameters
KSTAR Mission

## Slide 5: KSTAR Superconducting Tokamak
2008
2009
2010
2012

## Slide 6: KSTAR In-vessel Control Coil System (3-D)
Modular 3D field coils (3 poloidal x 4 toroidal)
all internal and segmented with saddle loop configurations
8 conductors in each coil
Control capability : vertical control, radial control, error correction, RMP, RWM
Wide spectra of Resonance Magnetic Perturbations (RMP) are possible
n=1 RMP (phase angles : +90, -90, 180, 0) and n=2 RMP (even or odd parity)
Schematics of IVCC and its conductor
top
mid
bot
+
+
-
-
-
-
+
+
-
+
+
-


n=1, +90 phase
BP
top
mid
bot
+
-
+
-
-
+
-
+
n=2, odd parity
top
mid
bot
+
-
+
-
+
-
+
-
-
+
-
+
n=2, even parity
+
top
mid
bot
+
+
-
-
+
+
-
-
+
+
-
-
n=1, 0 phase

## Slide 7: βN-limit and ELM Suppression
Hα/
RMP
2.7s
3.4s
4.3s
# 6123
ELM suppressed by n=1 RMP
(Ip = 600 kA, BT=1.6~2.3T)
KSTAR reached βN〉2.5 and βN/li〉 4.0
“no-wall limit” in H-mode Operation
2012 New Data

## Slide 8: KSTAR 2014 Campaign (H-mode > 30 sec)
NBI-1
5.5 MW/95 keV)
170 GHz ECH
(1 MW / 10 s)
110 GHz ECH
(0.7 MW / 2 s)
30~60 MHz ICRF
(1 MW / 10 s)
5 GHz LHCD
(0.5 MW / 2 s)
XICS / FIR
ECEC / MIR
Visible
Thomson
CES / BES / MSE
SXR / IR
Deposition

## Slide 9: Fusion Energy Development Promotion Law (FEDPL)
To establish a long-term and sustainable legal framework for fusion energy development phases.
To promote industries and institutes which participating the fusion energy development by supports and benefit.
The first country in the world prepared a legal foundation in fusion energy development.
1995. 12 : National Fusion R&D Master Plan
2005. 12 : National Fusion Energy Development Plan
2007. 3 : Fusion Energy Development Promotion Law
2007. 4 : Ratification of ITER Implementation Agreement
2007. 8 : Framework Plan of Fusion Energy Development
(The first 5-Year Plan)
2012. 1 : The 2nd 5-year plan has begun
History of the FEDPL

## Slide 10: Vision and Goal of Fusion Energy Development Policy
Acquisition of operating technology for the KSTAR
Participation in the international joint construction of ITER
Establishment of a system for the development of fusion reactor engineering technology
Establishment of a foundation for fusion energy development
Secure sustainable new energy source by technological development and the commercialization of fusion energy
Vision
Phase
Policy Goal
Basic Directions
Basic Promotion Plan
Primary Strategy for Plan-2
Basic Promotion Plan 1 (’07~‘11)
Attainment of KSTAR high-performance plasma and development of DEMO basic technology
Basic research in fusion and cultivation of man power
International cooperation and improvement of status in ITER operations
Commercialization of fusion/plasma technology and promotion of social acceptance
Phase 1 (’07~’11)
High-performance plasma operation in KSTAR for preparations for the ITER
Completion of ITER and acquisition of core technology
Development of core technology for the design of DEMO
Development of core technology for DEMO
Basic Promotion Plan 2 (‘12~‘16)
Phase 2 (’12~’21)
DEMO design, construction, and demonstration of electricity production
Undertaking of a key role in ITER operations
Completion of reactor core and system design of the fusion power reactor
Commercialization of fusion technology
Construction of DEMO by acquiring construction capability of fusion power plants
Phase 3 (’22~’36)
Basic Promotion Plan 3 (‘17~‘21)
Basic promotion plan 4 (‘22~‘26)
Basic promotion plan 5 (‘27~‘31)
Basic promotion plan 6 (‘32~‘36)
Policy Goal for Plan-2
R&D for DEMO Technology based on KSTAR and ITER

## Slide 11
Introduction

## Slide 12: Two Stage Operation
The operation stage I K-DEMO is not considered as the final DEMO. It is a kind of test facility for a commercial reactor.
But the operation stage II K-DEMO will require a major up-grade by replacing the blanket & diverter system and others if required.
The operation stage I K-DEMO
  At initial stage, many of ports will be used for diagnostics for the operation and burning plasma physics study, but many of them will be transformed to the CTF (Component Test Facility).
  At least more than one port will be designated for the CTF including blanket test facility.
  It should demonstrate the net electricity generation (Qeng > 1) and the self-sufficient Tritium cycle (TBR > 1.05).
The operation stage II K-DEMO
  Though there will be a major upgrade of In-Vessel-Components, at least one port will be designated for CTF for future studies.
  It is expected to demonstrate the net electricity generation larger than 450 MWe and the self-sufficient Tritium cycle.
  Overall all plant availability > 70%.
  Need to demonstrate the competitiveness in COE.

## Slide 13: Key Idea of K-DEMO Design
Current Drive and Magnetic Field
  Considering the size, a steady state Tokamak is selected as a K-DEMO.
  Because of high neutron irradiation on ion sources, NBI is not practical for the main off-axis current drive of K-DEMO.
  Because of high density of K-DEMO plasma, high frequency ECCD systems (> 240 GHz) are required in order to minimize the deflection of wave.
  In order to match with the high frequency ECCD, a high toroidal magnetic field Tokamak is required and the magnetic field at plasma center requires > 6.5 T.
  Also, Ip,limit ∝ B, ne, limit ∝ B, and Power ∝ R3B4 [Reactor Cost ∝ R3B2]
Choice of Coolant and Blanket System
  Helium is not considered as a coolant of K-DEMO because of its low heat capacity and a required high pumping power.
  Supercritical water is not considered as a coolant of K-DEMO because of its serious corrosion problem.
  Pressurized water (superheated water) is considered as a main coolant of K-DEMO considering BOP(Balance of Plant).
  Both of ceramic and liquid metal blanket system is considered at this stage. But even in the liquid blanket system, the liquid metal will not be used as a main coolant and a water cooling system will be installed inside the liquid metal blanket.

## Slide 14: K-DEMO Parameters
Main Parameters
  R = 6.8 m
  a = 2.1 m
  B-center = 7.0~7.4 T
  B-peak = 16 T
  k95 = 1.8
  d = 0.625
  Plasma Current > 12 MA
  Te > 20 keV
Other Feature
  Double Null Configuration
  Vertical Maintenance
  Total H&CD Power = 110~150 MW
  P-fusion = 2200~3000 MWth
  P-net > 400 MWe at Stage II
  Number of Coils : 16 TF, 8 CS, 12 PF

## Slide 15
K-DEMO Tokamak Design

## Slide 16: Systems Analysis to Explore Configurations
Scan plasma parameters R, BT, q95, k, d, n/nGr, bN, Q (=Pfus/Pinput), n(0)/<n>, T(0)/<T>, tp*/tE, hCD, fimp
Solve 0D plasma power and particle balance
Pass solutions of viable plasma operating points through engineering and inboard radial build assessments
  Radiated power to first wall and transported and radiated power in the divertor
  Plant power balance
  First wall, blanket, shield, vacuum vessel inboard radial build
  Toroidal field coil
  Bucking cylinder, TF superstructure
  Central solenoid
Filtering viable engineering solutions to meet Pelec, qdivpeak, bN, H98, etc
※In collaboration with

## Slide 17: Determination of Plasma Geometry
The peak heat flux on the divertor poses a significant limitation
The qdivpeak is reduced as the device grows in size
KDEMO will be a first of a kind, desire to reduce the cost
A compromise between the high power and low power operating regimes at R = 6.8 m is chosen as the reference, and BT ~ 7.4 T at the plasma
Ip = 10.5-12.2 MA
Ip = 11.7-13.0 MA

## Slide 18: Operating Spaces, Restricting qdivpeak
Stage I operated at lower Pelec and bN, with lower plasma energy confinement reaches up to 350 Mwe
Stage II operated at higher Pelec and bN, with higher plasma energy confinement reaches up to 600 Mwe
Restricting qdivpeak < 10 MW/m2 shrinks accessible operating space

## Slide 19: Heating and Current Drive
TSC, TRANSP and other codes used (PNB ~50, PLH ~30, PIH~20, PEC ~20)

## Slide 20: Development of Tokamak Simulator, INFRA
Structure of the INFRA Code
(INFRA : INtegrated Fusion Reactor Analysis)
Input Parameters with INFRA System Code
Transport
(TRANSP and ASTRA)
Equilibrium
(TES and ESC)
ECH
: TORAY
ICRH : PICES
NBI : NUBEAM
LH :
LSC,
TORIC
Edge&SOL calculation : SOL1D
MHD stability
Subroutine for
Equilibrium & stability
Module for
Heating and
Current Drive
Python is used for the base platform

## Slide 21: 2D Drawing of Magnet System

## Slide 22: CICC Dimensions and Trial Fabrication
TF LF CICC
40.0
1.6
36.8
26.8
26.8
36.8
5.0
40.0
R 3
TF HF CICC
40.0
72.0
1.6
36.8
26.8
58.8
68.8
R 3
5.0
54
34
20
40
R 3
2
5
50
30
41.0
2.0
37.0
27.0
27.0
37.0
5.0
41.0
R 3
CS CICC
PF CICC

## Slide 23: CICC Parameter
Parameter | TF HF | TF LF | CS | PF1-4 | PF5-6
■ Cable pattern No. of SC strands No. of Copper strands Spiral Dimension (mm) | (3SC)x4x5x6x5 + Helical Spiral 1800 - ID 7 / OD 12 | (((2SC+2Cu)x5)x6+7Cu)x6 + Central Spiral 360 432 ID 7 / OD 9 | (2SC+1Cu) x3x4x4x6 No Cooling Spiral 576 288 - | (2SC+1Cu)x3x4x4x5+Central Spiral 480 240 ID 7 / OD 9 | 
■ Void Fraction (%) | 27.1 | 26.0 | 36.6 | 32.5 | 
■ Strand Type | High Jc (> 2600 A/mm2) Nb3Sn Strand 0.82 mm diameter (~450 ton + ~280 ton) |  | ITER type (Jc ~ 1000 A/mm2) Nb3Sn Strand 0.82 mm diameter (~102 ton + ~90 ton) |  | NbTi Strand 0.82 mm diameter (~90 ton)
■ Cu/non-Cu of Strand | 1.0 |  |  |  | 
■ Insulation | 1.6 mm (including Voltage Tap) (0.1 mm Kapton 400% + 0.3 mm S glass 400%) |  | 2.0 mm (including Voltage Tap) (0.1 mm Kapton 400% + 0.4 mm S glass 400%) |  | 
■ Jacket Thickness | 5.0 mm |  |  |  | 
■ Twist Pitch (mm) 1st stage 2nd stage 3rd stage 4th stage 5th stage | 80 ± 5 140 ± 10 190 ± 10 245 ± 15 415 ± 20 | 80 ± 5 140 ± 10 190 ± 10 300 ± 15 - | 27 ± 5 45 ± 10 85 ± 10 150 ± 15 385 ± 20 | 35 ± 5 75 ± 10 135 ± 10 285 ± 15 410 ± 20 | 
■ Wrapping Tape Sub-cable wrap thickness Sub-cable wrap width Cable wrap thickness Final wrap width | 0.08 mm, 40% coverage 15 mm 0.4 mm, 60% coverage 7 mm |  |  |  | 

## Slide 24: Overview of TF Coil
Selected for Detailed Study (Maintenance Space = 2.5 m)
Considering Vertical Maintenance Scheme
R = 6.8 m, a = 2.1 m
Small CICC Coil : 18 x 10 turns Large CICC Coil : 12 x 5 turns (Total : 240 turns)
Magnetic Field at Plasma Center : ~7.4 Tesla (Bpeak ~ 16 Tesla, T-margin > 1 K)
Nominal Current : 65.52 kA
Conductor Length :
  LQP = ~900 m (Quadruple Pancake) (Total : ~450 ton)
  SDP = ~930 m (Double Pancake) (Total : ~280 ton)
2050 mm
3135 mm
2525 mm
3220 mm
2925 mm
Clearance
Filled with
Glass Fiber
(5 mm)
Ground Wrap
(5 mm)
180 mm
1018 mm
13510 mm
14528 mm
550 mm
Clearance
Filled with
Glass Fiber
(5 mm)
Ground Wrap
(5 mm)
13595 mm
13795 mm
13948 mm
14348 mm
Space (Filled with 316) for Turn Transition and Feed Through (143 mm)
190 mm
118 mm

## Slide 25: Inter-coil Joint Scheme of Magnet
ITER CS Inter-coil Joint Scheme used
  Joint Resistance ~0.2 n-ohm/joint

## Slide 26: 3D Modeling of TF Magnet

## Slide 27: 3D Modeling of TF Assembly

## Slide 28: TF Coil Structure

## Slide 29: Overview of CS Coils
Number of Turns : 14 (Total SC strand weight : ~102 tons)
Number of Layers : CS1, CS2, CS3 & CS4 : 24 layers
Magnetic Field at Center : ~11.8 T (Bpeak < 12.194 T, Half Flux Swing ~ 85 Wb)
Conductor Unit Length : 885 m (CS1, CS2, CS3 & CS4 : UL x 4)
Gap Between Coils : 104 mm
Magnet Center Position : (1638, 700), (1638, 2100), (1638, 3500), (1638, 4900)
Nominal Current : 42 kA (Current can be increased)
Temperature Margin ~ 1.3 K
1296 mm
1876 mm
1400 mm

## Slide 30: 3D Modeling of CS Coils
Inner layer transition
Outer layer transition
Turn transition
In/Out Cooling pipe
Feeder extension
Intercoil joint con.

## Slide 31: Stability Analysis of TF and CS CICC
Gandalf Code has been used for the estimation.
Assumption & Result
  Gaussian shape DC heat pulse was applied for 10 ms at the center of the CICC's.
  The nominal strain of -0.5% was assumed for the superconducting wires.
  The field, temperature and strain dependence of the critical current density was estimated by the scaling law based on strong-coupling theory.
  The percentage perforation of the separation perimeter between the bundle and hole He channels was set to 0.5 and the inlet pressure of 0.5 MPa case was studied.
  For the HF CICC, the energy margin at an operation current of 65.52 kA is well above 500 mJ/ccst whether the heating zone is 2 or 20 m, even for the stagnant flow condition.
  But for the LF conductor, the energy margin at the operation current is above 500 mJ/ccst, when there is a He mass flow of 5 g/sec at the flow path inlet. The energy margin was increased almost twice as the He mass flow increased to 15 g/sec,
HF
LF
CS

## Slide 32: Overview of PF Coils
Number of Turns : 8 turns for PF1~4, 12 for PF5, and 2 for PF6
Number of Layers : 20 layers for PF1~4, 36 for PF5 and 4 for PF6
  Nominal Current : 36, 50, 50, 44, 37, 28 kA for PF1 to 6, respectively.
Conductor Unit Length : 620, 755, 890 and 1030 m for PF1~4
980 & 1010 m for PF5 and 770 m for PF6
Coil Center Position : (2980, 8310), (3660, 8310), (4340, 8590) – PF1~3
(5020, 8750), (12762 & 13158, 7500), (14880, 2950) – PF4~6
Temperature Margin > 1.5 K
PF1~4
PF5
PF6
PF1~4
PF5
PF6
Gap : 150 mm

## Slide 33: In-Vessel Components
In-vessel components
In-vessel component segmentation
In-Vessel Component Segmentation 22.5
Semi-permanent inner structure
Inboard blanket sector (16)
Divertor module (32)
Outboard
blanket –
port sector (16)
Outboard
blanket –
TF sector (16)
Window to remove Divertor module

## Slide 34: Concept of Vertical Maintenance [I]
Vertical maintenance of all in-vessel components
Blanket
VV
Gravity support /
coolant supply plenum
Internal VV maintenance space expanded
Coolant supply from below
Horizontal assisted maintenance
Enlarged TF
Semi-permanent Inboard Shield structure

## Slide 35: Concept of Vertical Maintenance [II]
An option to consider is to gain divertor access by removing the central outboard blanket module to gain access
Divertor modules shortened and blanket segment added
outboard blanket modules

## Slide 36: Blanket Module Configuration (water cooling)
(Mixed pebbles of
Li4SiO4 &Be12Ti)

## Slide 37: Neutron Wall Loading Distribution
Fusion power = 2200 MW
Outboard
Blanket
Inboard
Blanket
Divertor
Max. 2.91 MW/m2
Outboard
Blanket
Inboard
Blanket
Divertor

## Slide 38: 3D Global TBR (Tritium Breeding Ratio)
MCNP Calculation with the help of MCAM developed by Chinese FDS team
Breeder Pebble | Multiplier Pebble | Global TBR
Li4SiO4 | Be | > 1.20
Li4SiO4 | Be12Ti | < 1.00 (so far)
Li4SiO4 + Be12Ti (Mixed pebbles) |  | ~ 1.00 (so far)
MCNP model – tokamak 45 sector

## Slide 39: Nuclear Heating in TF Coils
450 mm thick B4C or 600 mm thick 2% Borated SS
could reduce the nuclear heating in 16 TF coils below 10 kW.
B4C
2% Borated SS

## Slide 40: Thermo-hydraulic Analysis on Blanket Module
Heat generation vs. Pebble Layers (9 layers)
Temperature distribution of blanket module (coolant speed = 4 m/s)
< Water Temperature >
< Blanket Temperature >
Total Heat Generation : 3.36 MW
(incl. water)

## Slide 41: Thermo-hydraulic Analysis on Blanket Module
Heat generation vs. Pebble Layers (9 layers)
< Water Temperature >
< Blanket Temperature >
Total Heat Generation : 3.36 MW
(incl. water)
Temperature distribution of blanket module (coolant speed = 10 m/s)

## Slide 42: Thermo-hydraulic Analysis on Blanket Module
Heat generation vs. Pebble Layers (10 layers)
< Water Temperature >
< Blanket Temperature >
Total Heat Generation : 3.37 MW
(incl. water)
Temperature distribution of blanket module (coolant speed = 4 m/s)

## Slide 43: Thermo-hydraulic Analysis on Blanket Module
Heat generation vs. Pebble Layers (10 layers)
< Water Temperature >
< Blanket Temperature >
Total Heat Generation : 3.37 MW
(incl. water)
Temperature distribution of blanket module (coolant speed = 10 m/s)

## Slide 44: Divertor Peak Heat Flux & Distibution
Convection + radiation heat load (for 2.2 GW of fusion power)
  Core radiation fraction = 40%
  q = 1.5~2.5 mm
  flux expansion = 4.3
Divertor Radiation ~87% is required to meet Peak Heat flux = 10 MW/m2 (q = 1.5 mm)
Peak Heat Flux vs. Divertor Radiation Fraction
Heat Flux Distribution at Outboard Divertor Target
(frad_div = 0.87)

## Slide 45: Concept of Divertor
Each divertor module is consisted of a central part, an inboard target, and an outboard target.
High Heat Flux (HHF) unit:
  Tungsten mono-blocks
  RAFM cooling tube
  Vanadium interlayer
Outboard target
Detail View of HHF Units

## Slide 46: Preliminary Thermo-hydraulic Analyses
Peak temperature of tungsten
~ 2000 C
Coolant temperature:
290~315 C (15 MPa)
 meet a PWR-like coolant conditions
Thermo-hydraulic Analyses for the HHF unit

## Slide 47: Radial Build of K-DEMO [unit : mm]
Plasma
CS
TF
Blan-
ket
Blanket
VV
TF
VV
1400
1876
2050
3220
3420
3550
4600
4700
SOL
SOL
TS
6800
8900
9000
12700
13080
13510
14528
TS
10200
Space for
Vertical
Maintenance

## Slide 48: Details of Radial Build of K-DEMO
 | COMP BUILD, Z=0 (in) | (mm) | (in) | (mm) | TOTAL (mm)
 | Machine Center |  |  |  | 0
 | Solenoid Center | 1390 | 54.724 |  | 1390
CS | ground wrap | 10 | 0.394 |  | 
 | Winding pack thickness | 476 | 18.740 |  | 
 | ground wrap | 10 | 0.394 | 496 | 1886
 | Gap | 10 | 0.394 |  | 
 | Tie Plate / lead support | 114 | 4.488 |  | 
 | OH TPT* | 6 | 0.236 |  | 
 | TF TPT | 9 | 0.354 |  | 
 | Min OH/TF Gap | 10 | 0.394 |  | 
 | OH/TF deflection | 10 | 0.394 |  | 
 | Wedged coil asmbly fit up | 5 | 0.197 |  | 
 | Bucking Cylinder | 0 | 0.000 | 164 | 2050
INBD TF | Ext structure | 505 | 19.882 |  | 
 | Clearance | 5 | 0.197 |  | 
 | ground wrap | 5 | 0.197 |  | 
 | OC Winding pack thickness | 360 | 14.173 |  | 
 | ground wrap | 5 | 0.197 |  | 
 | ground wrap | 5 | 0.197 |  | 
 | IC Winding pack thickness | 200 | 7.874 |  | 
 | ground wrap | 5 | 0.197 |  | 
 | Clearance | 5 | 0.197 |  | 
 | Ext structure | 75 | 2.953 | 1070 | 3220
Thermal Insul | TF winding tolerance | 10 | 0.394 |  | 
 | Wedged coil assembly fit up | 10 | 0.394 |  | 
 | Trapezoidal Effect | 30 | 1.181 |  | 
 | TF TPT | 10 | 0.394 |  | 
 | cold wall / thermal insul | 120 | 4.724 |  | 
 | Min VV/TI Gap | 10 | 0.394 |  | 
 | VV TPT | 10 | 0.394 | 200 | 3420
Inboard VV | VV shell thickness | 40 | 1.575 |  | 
 | Shell gap | 50 | 1.969 |  | 
 | VV shell thickness | 40 | 1.575 | 130 | 3550
Backbone | VV TPT | 5 | 0.197 |  | 
 | EM load displacement | 9 | 0.354 |  | 
 | Backbone TPT | 5 | 0.197 |  | 
 | Min VV/Backbone Gap | 5 | 0.197 |  | 
 | Thermal Shield | 5 | 0.197 |  | 
 | Backbone shield structure | 100 | 3.937 |  | 
 | Gap+TPT | 5 | 0.197 |  | 
 | Diagnostic mounting space | 25 | 0.984 | 159 | 3709
 | COMP BUILD, Z=0 (in) | (mm) | (in) | (mm) | TOTAL (mm)
Blanket/Shld | Manifold space | 217 | 8.543 |  | 
 | Back wall-Shield | 120 | 4.724 |  | 
 | tolerances | 6 | 0.236 |  | 
 | Breading Zone | 517 | 20.354 |  | 
FW | FW | 31 | 1.220 | 891 | 
Plasma R0 | Plasma SO | 100 | 3.937 |  | 4600
 | Plasma minor radii | 2100 | 82.677 |  | 4700
 | --------------------------------------------------------- |  |  |  | 6800
 | Plasma minor radii | 2100 | 82.677 |  | 8900
 | Plasma SO | 100 | 3.937 |  | 9000
FW/Blanket | FW | 31 | 1.220 |  | 
 | Blanket - segment 1 | 517 | 20.354 |  | 
 | Passive Plates | 10 | 0.394 |  | 
 | Blanket - segment 2 | 0 | 0.000 |  | 
 | attachment space | 50 | 1.969 | 608 | 9608
Shield | Skeleton Ring Shield | 200 | 7.874 | 300 | 9808
 | Manifold space | 392 | 15.433 | 220 | 10200
Space | Thermal Shield | 10 | 0.394 |  | 
 | EM load displacement | 10 | 0.394 |  | 
 | Shield / Bkt TPT | 10 | 0.394 |  | 
 | VV Shield Gap | 2460 | 96.850 |  | 
 | VV TPT | 10 | 0.394 | 2500 | 12700
Outboard VV | VV shell thk | 40 | 1.575 |  | 
 | Shell gap | 300 | 11.811 |  | 
 | VV shell thk | 40 | 1.575 | 380 | 13080
Thermal Insul | cold wall / thermal insul | 120 | 4.724 |  | 
 | TF/VV Gap | 290 | 11.417 |  | 
 | VV TPT | 10 | 0.394 |  | 
 | TF TPT | 10 | 0.394 | 430 | 13510
OUTBD TF | Ext structure | 75 | 2.953 |  | 
 | winding tolerance | 5 | 0.197 |  | 
 | ground wrap | 5 | 0.197 |  | 
 | IC Winding pack thk | 200 | 7.874 |  | 
 | ground wrap | 5 | 0.197 |  | 
 | Space for layer transition | 143 | 5.630 |  | 
 | ground wrap | 5 | 0.197 |  | 
 | OC Winding pack thk | 360 | 14.173 |  | 
 | ground wrap | 5 | 0.197 |  | 
 | winding tolerance | 5 | 0.197 |  | 
 | Ext structure | 210 | 8.268 | 1018 | 14528
*TPT : True Position Tolerance

## Slide 49: K-DEMO Conceptual Study & CDA Schedule
2012.1~2012.12 |  |  |  | 2013.1~2013.12 |  |  |  | 2014.1~2014.12 |  |  |  | 2015.1~2017.12 |  |  | 2018.1~2021.12 |  |  | 
Pre-study
Memo for Pre-study
Design Parameter Circulation & Modification
Physics & Backup Study – Phase I
Parameter Study & Conceptual Study Report
Improvement of Report
CDA & R&D Phase I
CDA & R&D Phase II + CDR
Physics & Backup Study – Phase II
Target Date for K-DEMO Construction : End of 2037

## Slide 50
DEMO Core Technology
Development Plan

## Slide 51: DEMO Core Technology Development Plan
K-DEMO 3 Major Research Fields | K-DEMO 7 Core Technologies | Major Research Facilities
Design Basis Technology | Tokamak Core Plasma Technology | Extreme Scale Simulation Center
 | Reactor System Integration Technology | 
 | Safety and Licensing Technology | 
Material Basis Technology | Fusion Materials Technology | Fusion Materials Development Center Fusion Neutron Irradiation Test Facility SC Conductor Test Facility
 | SC Magnet Technology | 
Machine and System Engineering Basis Technology | H&CD and Diagnostics Technology | Blanket Test Facility PMI Test Facility
 | Heat Retrieval System Technology | 
Development of Core Technology
3 Major Research Fields, 7 Core Technologies, 18 Detail Technologies
and 6 Major Research Facilities
Through the complete technical planning process with the full participation of
experts from all fields covering fusion, fission, physics, computing, mechanics,
material, electrics, electronics, and so on.

## Slide 52: K-DEMO Design & Core Technology Development
K-DEMO Conceptual Design & Core Technology Development
Key Technology Development Program
K-DEMO Conceptual Design
Tokamak
Core
Simulator
Safety
Pre-
Conceptual
Study (PCSR)
KSTAR
ITER
International
Related Facilities
JET, EAST …
PPPL, ORNL, KIT …
IFMIF, KOMAC …
(JT-60SA, CFETR …)
…
Fusion Basic Research and HR Development Program
Conceptual
Design (CDR)
Concept
Definition (DRD)
Engineering Design
& Construction
of
K-DEMO
System
Integration
Fusion
Materials
Fusion
System
Eng.
HCD &
Diag.
SC
Magnet

## Slide 53
Major Facilities

## Slide 54: Nation-wide DEMO R&D Center Planning
High Enthalpy Plasma Application R&D Center
- Plasma-Material Interaction Test Facility etc.
Extreme Environment Material R&D Hub
- Fusion Reactor Materials R&D
Advanced Magnetic Field Center
- Superconductor Test Facility (SUCCEX)
연구부지
(고자기장센터 후보지)
Chonbuk Province
Busan Province
Daegu Province

## Slide 55: PMI Test Facility (Chonbuk Province)
MAGNUM-PSI (Cf.)
● 400kW High-Temperature Plasma Test Facility
- Upgrade Plasma Facility for PMI Test
- Additional, Blanket Test Facility

## Slide 56: Superconductor Test(SUCCEX) Facility
SUCCEX : SUperConducting Conductor EXperiment
Split pair solenoid magnet system
Inner bore size : ~1 m
Bpeak ~ 16.39 Tesla, Bcenter ~ 15.33 Tesla
Maximum Helium flow channel length : < 100 m
  One magnet of the split pair consists of three coil (IC, MC, OC) and the maximum of Helium channel length should be maintained below 100 m
  Every double pancake of each coil will have Helium inlet and outlet
  Each coil have a number of inter magnet joints because of the maximum fabrication capability in the length of CICC
Test Mode
  Semi-circle type conductor sample test mode
    U-shape sample with the bottom radius of 0.5 m
    DEMO TF conductor will have a rectangular cross-section to reduce the strain effect & will have capability of a minimum bending radius of 0.5 m
    No joint : no question regarding voltage arising from the joint
    There are enough distance for the voltage relaxation from the sample terminal to voltage taps
  Sultan like sample test mode
    For the case of CS conductor, the size of the is expected to be a range of 50 mm. And it is not easy to make the U-shape sample because of the minimum bending radius
    Also the facility could support the joint technology development

## Slide 57: Conceptual View of SUCCEX

## Slide 58: Conductor Parameter of SUCCEX Magnets
IC (Inner Coil) CICC : (3SC)x4x5x6[360 SC strand], VF = 27.62%
MC (Middle Coil) CICC : (2SC+1Cu)x3x4x6[144 SC strand], VF = 26.96%
OC (Outer Coil) CICC : (1SC+2Cu)x3x4x6[72 SC strand], VF = 26.96%
Strand : High Jc (> 2600A/mm2) Nb3Sn (total ~ 6.8 ton)
Twist Pitch : 50 mm – 110 mm – 170 mm – 290 mm
No Sub-Cable Wrapping
30.0
1.0
3.0
16.0
R 3
MC CICC Cross-section
14.0
37.0
1.0
3.0
18.0
R 3
IC CICC Cross-section
16.0
OC CICC Cross-section
29.0
1.0
2.5
15.0
R 3
13.0

## Slide 59: SUCCEX Magnet Cross-Section (Upper Coil)
70 mm
810 mm
790 mm
766 mm
500 mm
608 mm
648 mm
904 mm
944 mm
1139 mm

## Slide 60: Magnetic Field & Stress of SUCCEX Magnets

## Slide 61: Stability Analysis of SUCCEX Magnets

## Slide 62: KOMAC Site (Gyeong-ju)
KTX Station
To Seoul ~2 Hour
KOMAC Phase-2 Site
650m(L) X 400m(W)
KOMAC Site
450m(L) X 400m(W)
Seoul-Busan Expressway
Access Road 1,100m(L) x 20m(W)

## Slide 63: Neutron Energy Spectrum in KOMAC
(Ref.) Institute for Materials Research, KIT
I A. Moslang
Neutron Energy Spectrum in KOMAC
Fusion Neutron similar Spectrum by Pulse-type Proton beam on Be-target (>1dpa/y)

## Slide 64: IFMIF(International Fusion Material Irradiation Facility)

## Slide 65: Summary
The conceptual study on the Korean fusion demonstration reactor (K-DEMO) has been started in 2012, based on the National Fusion Roadmap released in 2005 and Korean Fusion Energy Development Promotion Law (FEDPL) enacted in 2007.
After the thorough 0-D system analysis, the major radius and minor radius of K-DEMO are chosen to be 6.8 m and 2.1 m, respectively
For matching the high frequency ECCD, the designed K-DEMO TF magnet system provides the magnetic field at the plasma center above 7 T with a peak field of ~16 T by using high performance Nb3Sn-based superconducting strand.
For a high availability operation, K-DEMO incorporates a vertical maintenance design.
Pressurized water is the most prominent choice for the main coolant of K-DEMO when considering balance of plant development details.
A global TBR greater than 1 is achieved using a water cooled ceramic breeder blanket system.
Considering the plasma performance and the peak heat flux in the divertor system, a double-null divertor system becomes the reference choice of K-DEMO.