## Slide 1
Simultaneous measurement of the ELMs at both high and low field sides and ELM dynamics in crash-free period in KSTAR
ELMs at the
high & low field sides
ELMs in 3D
[low field side)
at
25th IAEA FEC Conference
Oct. 12 -18 2014,
St. Petersburg,
Russian Federation
Hyeon K. Park
UNIST, Ulsan, Korea
In collaboration with
W. Lee (UNIST), M.J. Choi, M. Kim, J.H. Lee, J.E. Lee, G.S. Yun (POSTECH), X.Q. Xu (LLNL), S.A. Sabbagh, Y.S. Park (Columbia U.) ,C.W. Domier, N.C. Luhmann, Jr. (UC Davis), S.G. Lee (NFRI), KSTAR Team

## Slide 2: Outline
KSTAR 2D/3D ECE Imaging and MIR system
  2D validation of the physics in modeling  predictive capability of MHD and transport physics modeling
Images of the ELMs in H-mode plasma
  Growth -> Saturation -> Crash
  Validate the measured ELMs with synthetic images
ELMs at High field side
  Discrepancies with the current understanding
ELM dynamics during the crash free period
  Underlying dynamics of suppression/mitigation of the ELMs?

## Slide 3
G
H
Combined
with 2D MIR
KSTAR 2D/3D Imaging systems
EX/P8-15, Choi
EX/P8-12, G. Yun
EX/P8-13, W. Lee
2D Density fluctuation
Te fluctuation
(k vs. w)
m/n=2/1 mode
Modified
sawtooth
Cold bubble
Leads to disruption
2D Te
fluctuation
(30-50 kHz)
at 23rd FEC
Daejeon
Korea

## Slide 4
HFS
Low Field Side (LFS)
High Field Side (HFS)
LFS
KSTAR ECEI viewing windows (B0=2.0 T)
HFS
O-mode
Poloidal view of
the KSTAR plasma
Characteristic frequencies of
the electron cyclotron emission
Measurement
with O-mode
polarization is
verified for
Sawtooth crash
J. Lee_JINST_(2011)

## Slide 5: Dynamics of a single ELM in KSTAR H-mode plasmas
G.S. Yun et al., PRL 107 (2011)
1
2
3
100 ms
200 ms
0 ms
LCFS
(1) Initial growth
4
400 ms
LCFS
(2) Saturation

## Slide 6
BOUT++
Simulation*
Synthetic Image
(ideal)
Synthetic Image
with system noise
Measured
image
M. Kim et al., NF 54 (2014)
Observed structure = a faithful representation of ELM filaments
  Phantom image outside the separatrix due to ECE downshift from inside (well known); masked by finite system noise and scattered emission
  We ignore ECE signals contaminated by the downshifts
phantom
Instrument Function
Validation of the ELM structure
dT/<T>
Major radius (cm)

## Slide 7
ECEI-1
ECEI-2
Poloidal
spacing
Toroidal spacing
Pitch angle
ECEI-1 (LFS)
ECEI-2 (GFS)
ch_10
ch_15
Relationship between toroidal (n), poloidal (m) mode numbers & pitch angle (a*)
J.H. Lee, RSI, 85 (2014)
J.E. Lee, 9th APFA conference (2013)
Range of toroidal mode numbers
4 < n < 16
Notes: There are two ways to determine q95
Using the equilibrium fitting code, calculate the safety factor at the 95% poloidal flux surface.
As you can see the formula is formed by some of plasma parameters

## Slide 8
TV image with EFIT
ECEI ~5.569s LFS image
ECEILFS, 0902
ECEIHFS, 0306
LFS-0902 X
HFS-0306
X
ECEI ~5.569s HFS image
KSTAR #9380
Simultaneous measurement of the ELMs at both HFS and LFS (2013)

## Slide 9
LFS edge
ECEI
HFS edge
ECEI
KSTAR #9380
ECEI ~5.569s LFS image
Rotation direction and mode strength
KSTAR #9380
ECEI ~5.569s HFS image
Rotation direction – Asymmetries in toroidal and/or poloidal velocity
Comparable mode strength at HFS and LFS – No shear flow damping at HFS ?

## Slide 10
ECEI ~6.840s HFS image
ECEI ~6.840s LFS image
Refractive index
Z [m]
R [m]
Mode spacing based on Ballooning mode
In and out pressure asymmetry ? unlikely
The structure of ELM filaments at the HFS is not consistent with the ballooning mode structure.
ne(max)~3x1019/m3
Refraction effect - the actual mode spacing in HFS should be larger than the observed one.

## Slide 11
LFS | 225 | 13 | 0.13 | 
HFS | 132 | 10 | 0.09 | 
The ECEI can provide a fairly accurate toroidal mode number () using 2-D image and equilibrium fitting.
Pitch (mid-plane)
ELM structure + strong shear flow in HFS edge -> streamer like role ?
HFS-2205
X
LFS-0902
X
2-D correlation image of the HFS & LFS ELMs

## Slide 12
Burst process of the HFS & LFS ELMs (2013)
Time evolution of a single global ELM crash

## Slide 13
Time (s)
Da
ne (m-2)
rf
(0.6 GHz)
n=1 MP
f (kHz)
A
B
C
ELMs & crashes in crash free period (2011)
dB/dt
(T/s)
No large crash but
occasional tiny crashes
B0=2T, Ip=600kA, Te(0)~2.5 keV, <ne>~3×1013 cm-3 Wtot~250kJ 240kJ
change from n=10 to n=5 mode
ELM crash free period
(No steady ELM)
No changes in background
C
A
B
Major radius R(cm)
15
10
5
0
-5
-10
-15
205
210
215
220
225
230
205
210
215
220
225
230
No steady ELMs
ELMs with tiny crashes accompanied with rf bursts
G.S.Yun, PoP 19 (2012)
Time (sec)
Notes: using Te=500eV and ne=1e13 cm-3

## Slide 14
Da
ne (m-2)
rf
(0.2 GHz)
f (kHz)
B0 = 1.8 T, Ip = 510 kA
q95 ~ 4.5, PNBI = 2.7 MW
Wtot: 220180 kJ
MP
Time (s)
dB/dt
(T/s)
A
B
C
ELMs & crashes in crash free period (2012)
rf signal (<200 MHz) is a good measure of ELM crash
Broad-band dB/dt signal is not from high-n mode crash (Note: EX/1-5 Y. Jun)
Observation has been consistent over 3 years
High-n  suppression or
High-n  low-n  suppression
Suppressed time consist of
  Smaller bursts (bunching and single), brief moment without ELM, and persistent ELM with higher n without crash

## Slide 15
Bursting
ELM period
Illustration of no burst and burst cases (2012)
Steady
ELM period
Little change in magnetic signals !!
rf signal is much
better indicator
of the ELM crash

## Slide 16: Summary
Findings from the HFS ELMs
  Mode number discrepancies – in/out asymmetry in pressure profile or Ballooning representation incorrect??
  Large mode amplitude – high flow shear damping at the HFS??
  Rotation direction – asymmetries in toroidal/poloidal velocities + others (e.g., Pfirsch Schluter flow)??
  Crash proceeds first at LFS – Ballooning characteristics??
ELM dynamics during the “suppression” period
  Change of the edge confinement  less free energy  higher n, higher frequency, smaller crashes (bunching and singles), persistent ELMs without crash and brief moment without ELMs :marginal free energy or intricate physics??
  Broad spectra of dB/dt signals during ELM suppression period is not from the high-n mode burst